Pumping Apparatus Driver/Operator

Lesson 11 — Operating Fire Pumps

Name 	 Date

Answer questions about making the pump operational. Write the correct letters on the blanks.

1.	The process of making the fire pump operational may also be called:

A.	priming the pump.

B.	cavitating the pump.

C.	pressurizing the pump.

D.	putting the pump into gear.

2.	The process for making the fire pump operational begins:

A.	en route to the emergency scene.

B.	immediately after receiving dispatch.

C.	after connecting to the water source and determining proper operating pressures.

D.	after the apparatus has been properly positioned and the parking brake has been set.

3.	On the majority of apparatus, the procedure for making the pump operational takes place:

A.	at the pump.

B.	in the hose bed.

C.	at the pump panel.

D.	before the driver/operator exits the cab.

4.	Except when the apparatus is used for pump-and-roll operations, what is the next step after the driver/operator exits the cab?

A.	Prime the pump.

B.	Activate the pump panel.

C.	Chock the apparatus wheels.

D.	Set the auxiliary parking brake.

5.	When does IFSTA recommend that the apparatus wheels be chocked?

A.	Every time the apparatus is parked on a grade of more than 5 percent

B.	Every time the apparatus is parked with a full water tank and the engine is running

C.	Every time the apparatus is stopped with the engine running and the driver/operator exits the cab

D.	Every time the apparatus is stopped and the driver/operator must enter and exit the cab, whether or not the engine is running

Complete statements about operating from the water tank. Write the correct answers on the blanks provided.

1.	Of the three possible types of water supply for the fire pump, most driver/operators operate solely from the onboard water tank at the vast majority of incidents. The need to use an __________ __________ or static water supply source occurs much less frequently.

2.	In some circumstances, the fire attack begins with water in the tank and then, if the fire progresses, it becomes necessary to make the transition to an __________ __________ __________.

3.	The pump operator must be able to make the transition from the apparatus tank to an incoming water supply __________, with no __________ of the fireground operation.

Answer questions about operating from a pressurized water supply source. Write the correct letters on the blanks.

1.	What are the two basic pressurized water supply sources used to supply a fire pump?

A.	A hydrant and a lake or pond

B.	A hydrant and an attack hose from another pumper

C.	A hydrant and a supply hose from another fire pump

D.	A lake or pond and a supply hose from another fire pump

2.	Negative pump pressure is also called:

A.	a vacuum.

B.	intake pressure.

C.	discharge pressure.

D.	pressurized pump pressure.

3.	When operating at negative pump pressure, as the volume from the fire pump increases, the incoming pressure from the supply source may:

A.	drop.

B.	increase.

C.	regulate.

D.	be reduced below 0 psi

4.	Which of the following is a danger of operating at negative pressure from a fire hydrant?

A.	Increases the possibility of damage to the source pumper due to cavitation

B.	May make it necessary to make a later transition to a static supply source

C.	Can cause water to enter the pump with too much pressure from the source

D.	Can cause supply hose to collapse, resulting in interruption of water supply

5.	Which of the following is a danger of operating at negative pressure from another pumper?

A.	Increases the possibility of damage to the fire pump due to cavitation

B.	May make it necessary to make a later transition to a static supply source

C.	Can cause water to enter the pump with too much pressure from the source

D.	Can cause supply hose to collapse, resulting in interruption of water supply

Select facts about choosing a hydrant. Write the correct letters on the blanks.

1.	The best hydrants are located:

A.	on dead-end mains.

B.	on open-ended mains.

C.	on single mains that supply small amounts of water.

D.	on large water mains that are interconnected in a grid pattern.

2.	The worst hydrants typically are those located:

A.	on dead-end mains.

B.	on open-ended mains.

C.	on single mains that supply small amounts of water.

D.	on large water mains that are interconnected in a grid pattern.

3.	Which of the following commonly become clogged with sediment and encrustation, further reducing their capacity?

A.	Dead-end mains

B.	Open-ended mains

C.	Single mains that supply small amounts of water

D.	Large water mains that are interconnected in a grid pattern

4.	Which of the following is NOT a way in which reliability of hydrants can be found?

A.	Fire departments should have access to water department records.

B.	Apparatus may be equipped with map books with hydrant information and locations.

C.	Fire hydrants may be color coded to indicate the flow that can be expected from them.

D.	A pumper should be hooked up as quickly as possible to test the flow rate of each hydrant.

5.	Once a hydrant has been selected, the pumper should be hooked to it as quickly as possible, using either:

A.	a single or multiple lay.

B.	a wyed or siamesed lay.

C.	a forward or a reverse lay.

D.	a forward or a backward lay.

Answer questions about forward and reverse lays. Write the correct letters on the blanks. Forward lays

1.	One possible problem with a forward lay depends on:

A.	the distance from the hydrant to the main and the length of pipes being used.

B.	the distance from the hydrant to the fire and the length of the hose carried on the engine.

C.	the distance from the apparatus to the fire and the length of the hose carried on the engine.

D.	the distance from the apparatus to the hydrant and the length of the hose carried on the engine.

2.	Many departments that prefer forward lays use a(n):

A.	inlet valve.

B.	supply line valve.

C.	discharge outlet valve.

D.	four-way hydrant valve.

3.	On dry-barrel hydrants, it is recommended that ___ be attached to the unused hydrant discharges.

A.	gate valves

B.	inlet valves

C.	main valves

D.	butterfly valves

4.	When using 2½- or 3-inch hoselines to supply the pumper directly off hydrant pressure, it is recommended that the lines be no longer than:

A.	200 feet

B.	300 feet

C.	400 feet

D.	500 feet

Reverse lays

5.	A reverse lay is used so that ___ can be made before laying a supply line.

A.	size-up

B.	hydrant decisions

C.	pumper connections

D.	hydrant connections

6.	If threaded couplings are used, hose beds set up for reverse lays should be loaded so that the first coupling to come off is:

A.	male.

B.	female.

C.	50 feet from the next coupling.

D.	100 feet from the next coupling.

7.	The reverse lay has become a standard method for setting up a ___ operation when using smaller diameter hose as a supply line.

A.	standpipe

B.	sprinkler

C.	static water

D.	relay pumping

8.	A disadvantage of the reverse lay is that:

A.	a four-way hydrant valve must be used, which may not be carried on all apparatus.

B.	the friction loss in the hoselines may be too great to provide an adequate supply of water.

C.	the flow of the original supply line may be interrupted when a second pumper connects to the hydrant.

D.	essential fire fighting equipment must be removed and placed at the fire location before the pumper can proceed to the water source.

List the preliminary checks that should be made after making hydrant connections but before opening the hydrant.

1.

2.

Answer questions about putting the pump in service. Write the correct letters on the blanks.

1.	Do not engage the pump drive system ___ if there will be an extended period of time where water is introduced into the pump.

A.	before leaving the cab

B.	until the wheels are chocked

C.	until drain valves are opened

D.	until tank fill valves are opened.

2.	If operating a two-stage pump, set the ___ valve to the proper position before increasing the throttle to build discharge pressure.

A.	gate

B.	drain

C.	tank fill

D.	transfer

3.	Open discharge valves:

A.	slowly.

B.	quickly.

C.	partially.

D.	completely.

Squaring the lines method

7.	Note the __________ pressure on the water system before any pump discharges are open.

8.	Figure a relatively close figure of the __________ of water that is initially being flowed by the pumper.

9.	Square the number of lines currently flowing and multiply by the __________ __________ __________.

List the steps for shutting down the hydrant operation.

1.

2.

3.

4.

Answer questions about operating from a static water supply source. Write the correct letters on the blanks.

1.	In most cases, the static water supply will be located:

A.	above the fire pump.

B.	on the same level as the fire pump.

C.	at a lower level than the fire pump.

D.	adjacent to and parallel with the fire pump.

2.	In order to pump from a lower level, ___ must be created by evacuating some of the air inside the fire pump.

A.	a gravity feed

B.	venturi action

C.	a partial vacuum

D.	centrifugal force

3.	To force water into the pump, ___ is needed between the fire pump and the body of water to be used.

A.	soft intake hose

B.	hard intake hose

C.	a four-way valve

D.	a sexless connection

4.	The amount of friction loss in the intake hose depends upon the:

A.	size of the pump.

B.	length of the pump piping.

C.	elevation of the water supply.

D.	diameter and length of the hose.

5.	The total pressure available to overcome all these pressure losses is limited to the atmospheric pressure at sea level ___ psi

A.	4.17 psi     B.	7.14 psi	C.	14.7 psi	D.	17.4 psi

6.	Atmospheric pressure decreases ___ psi  for each 1,000 feet  of elevation gain.

A.	0.05 psi

B.	0.5 psi

C.	5.0 psi

D.	50 psi

7.	Because the same amount of atmospheric pressure must overcome elevation pressure as well as friction loss, increasing the height of the lift also decreases:

A.	tank fill time.

B.	pump pressure.

C.	total pump capacity.

D.	atmospheric pressure.

8.	While the pump is moving water, the vacuum reading on the ___ provides an indication of the remaining pump capacity.

A.	tank fill gauge

B.	master intake gauge

C.	pump valve indicator

D.	oil pressure indicator

9.	The maximum amount of vacuum that most pumps develop is approximately ___ inches (mm) of mercury.

A.	12 inches

B.	14 inches

C.	22 inches

D.	24 inches

10.	What happens when an attempt is made to increase the discharge from the pump beyond the point of maximum vacuum on the intake?

A.	Cavitation results

B.	Air hammer occurs

C.	Water hammer occurs

D.	The pump engine stalls

Objective 21:

List indications that a pump is cavitating.

1.

2.

3.

4.

Select facts about selecting the drafting site. Write the correct letters on the blanks.

1.	The most important factor in the choice of the draft site is the ___ of water available.

A.	depth

B.	amount

C.	location

D.	cleanliness

2.	In order for a pumper to approach its rated capacity using a traditional strainer, there should be a minimum of ___ of water above the strainer.

A.	6 inches    B.	1 foot    C.	2 feet    D.	3 feet

3.	It is also desirable to have ___ of water all around the strainer.

A.	6 inches

B.	1 foot

C.	2 feet

D.	3 feet

4.	If there is not an adequate amount of water above the strainer, the rapid movement of the water into the intake strainer creates:

A.	a whirlpool.

B.	backward siphoning into the pump.

C.	increased intake hose friction loss.

D.	a pressure differential and intake drop.

5.	The best solution in drafting from a swiftly moving shallow stream is a ___ strainer.

A.	static

B.	drafting

C.	sinking

D.	floating

6.	Low-level strainers are designed to sit directly on the bottom of the tank or pool and are capable of allowing water to be drafted down to a depth of about:

A.	2 inches B.	3 inches	C.	4 inches     D.	5 inches

7.	Water that is below ___ or above ___ may adversely impact the pump's ability to reach capacity.

A.	10ºF; 100ºF

B.	15ºF; 100ºF

C.	25ºF; 95ºF

D.	35ºF; 90ºF

8.	Pumping ___ water can be harmful to the pump.

A.	soft

B.	hard

C.	cold

D.	nonpotable (untreated)

9.	The most common type of contamination, and possibly the most damaging, is ___ water.

A.	salty

B.	algae-laden

C.	dirty or sandy

D.	extremely hot or cold

10.	All fire pumps meeting NFPA and UL requirements are rated to pump their capacity at ___ of lift.

A.	6 feet    B.	8 feet	C.	10 feet    D.	12 feet

Select facts about connecting to the pump. Write the correct letters on the blanks.

1.	Once the desired drafting position has been chosen, the driver/operator should move the apparatus:

A.	toward the fire scene.

B.	away from the fire scene.

C.	toward the drafting site.

D.	away from the drafting site.

2.	If the apparatus is not able to park directly at the drafting location:

A.	the driver/operator will have to find a more suitable drafting location.

B.	another pumper must be used until a suitable drafting site can be located.

C.	the company officer will have to connect the pumper to the nearest hydrant.

D.	firefighters will have to carry the hose and strainer and put them into the desired position.

3.	Before connecting sections of hard intake hose, check the ___ to make sure that they are in place and that no dirt or gravel has accumulated inside the ___.

A.	gaskets; coupling

B.	couplings; strainer

C.	strainers; gaskets

D.	couplings; gaskets

4.	If a barrel strainer is used, the rope that was tied to it can be used to suspend the strainer above the bottom by tying it to:

A.	a tree.

B.	the pumper.

C.	another fixed object.

D.	all of the above.

5.	If a barrel strainer is used and the bottom slopes away from the edge, it may be possible to put a ___ in the water and rest the intake hose on it.

A.	tarp

B.	beach ball

C.	roof ladder

D.	wooden board

Answer questions about priming the pump and beginning operation. Write the correct letters on the blanks.

1.	Priming the pump starts:

A.	the draft operation.

B.	the supply operation.

C.	standpipe operations.

D.	sprinkler operations.

2.	If operating a two-stage pump, the transfer valve should be in the ___ position during priming.

A.	prime   B.	series

C.	parallel   D.	closed

3.	Before priming, make sure that all drains and valves are:

A.	closed.

B.	capped.

C.	partially open.

D.	completely open.

4.	Most priming pumps are intended to work best when the engine is set between:

A.	500 and 750 rpm.

B.	750 and 900 rpm.

C.	900 and 1,000 rpm.

D.	1,000 and 1,200 rpm.

5.	The vacuum reading on the master intake gauge should read ___ inches (mm) for each ___ feet (m) of lift.

A.	1 inch; 1 foot         B.	1 inch; 2 feet

C.	2 inches; 1 foot      D.	2 inches; 2 feet

6.	The entire priming action typically requires ___ seconds from start to finish.

A.	5 to 10    B.	10 to 15

C.	15 to 20  D.	20 to 30

7.	When using no more than 20 feet (6 m) of hard intake hose lifting a maximum of 10 vertical feet (3 m), the priming process should not take more than:

A.	20 seconds.

B.	30 seconds.

C.	45 seconds.

D.	60 seconds.

8.	After the pump has been primed, the pressure needs to be between:

A.	25 and 50 psi

B.	50 and 100 psi

C.	100 and 150 psi

D.	150 and 200 psi

List common causes of inability to prime the pump.

1.

2.

3.

4.

List the categories of problems that can occur while operating from draft.

1.

2.

3.

Select facts about supporting automatic sprinkler systems. Write the correct letters on the blanks.

1.	The water supply for sprinkler systems is designed to supply ___ of the total number of sprinklers on the system.

A.	only a fraction               B.	at least half

C.	seventy-five percent      D.	one hundred percent

2.	Sprinklered FDCs consist of a ___ or one large diameter sexless connection that is connected to a clappered inlet.

A.	wye with at least two 2½-inch male connections

B.	four-way valve with at least two 2½-inch outlets

C.	siamese with at least two 2½-inch female connections

D.	manifold appliance with at least one 2½-inch male outlet

3.	If there is any indication of an actual fire, a minimum of ___ should be connected to the FDC.

A.	One 2½-inch hoseline    B.	Two 2½-inch hoselines

C.	Two 3-inch hoselines     D.	Three 2½-inch hoselines

4.	It is a general rule of thumb that one ___ gpm (L/min) rated pumper should supply the FDC for every ___ sprinklers that are estimated to be flowing.

A.	500 gpm; 25    B.	500 gpm; 50    C.	1,000 gpm; 50    D.	1,000 gpm; 100

5.	If recommended discharge pressure is not on the FDC plate or in the pre-incident planning information, the general rule of thumb is to discharge ___ into the FDC.

A.	150 psi    B.	200 psi    C.	250 psi    D.	300 psi

Select facts about supporting standpipe systems. Write the correct letters on the blanks.

1.	For what type of structure are standpipes commonly used to speed fire attack?

A.	Single family dwellings on large acreages

B.	Commercial structures with common walls

C.	Residential tract housing with an independent water source

D.	Multistory or single-story buildings with large floor areas

2.	Generally, what lines should be used to support standpipe systems?

A.	Standpipe lines

B.	Interior house lines

C.	Exterior house lines

D.	Fire department attack lines

3.	How are dry pipe systems supplied with water?

A.	Directly from the hydrant to the standpipe FDC

B.	Pumper to pumper relay to exterior building standpipe FDC

C.	A pumper that attaches to a standpipe FDC outside the building

D.	From the occupancy water source, generally a rooftop water tank/tower

4.	Add approximately ___ psi to the desired nozzle pressure for each floor above the standpipe connection that will have operating fire streams.

A.	0.05 psi     B.	0.5 psi     C.	5 psi     D.	50 psi

5.	When a standpipe system is known to be equipped with pressure-reducing valves, the elevation pressure used must be based on:

A.	one-half the height of the standpipe.

B.	the total height of the standpipe.

C.	the total height of the standpipe plus one story.

D.	the total height of the standpipe plus two stories.

6.	What must be done if vandals or curious individuals open hose valves in dry standpipes and leave them in an open position?

A.	The driver/operator must charge the first floor riser.

B.	The driver/operator must increase pump pressure accordingly.

C.	A firefighter must be sent up or down the stairwell to close the valves.

D.	Nothing needs to be done as the valves must be open for operation.