Pumping Apparatus Driver/Operator

Lesson 12 — Static Water Supply Sources

Name 	 Date

Match to their definitions terms associated with static water sources. Write the correct letters on the blanks.

1.	The process of raising water from a static source to supply a pumper

2.	The elevation difference between the static water source and the pump intake

3.	The pressure differential between the inside of the pump and the intake hose and the atmosphere that allows water to be forced into the hose and pump

4.	Vacuum that would allow water to be raised by atmospheric pressure to a height in accordance with this pressure

5.	The maximum height to which any amount of water may be raised through a hard intake hose to the pump

6.	The height a column of water may be lifted in sufficient quantity to provide a reliable fire flow

Select facts about theoretical, maximum, and dependable lift. Write the correct letters on the blanks.

1.	In the customary (metric) system of measurement, at sea level a pump could theoretically lift water ___ ft. (meters).

A.	30.8 ft.     B.	33.8 ft.     C.	38.3 ft.    D.	38.8 ft.

2.	For every ___ ft. (meters) of altitude, atmospheric pressure decrease by about ___ p.s.i..

A.	500 ft.; 0.25 p.s.i.

B.	1,000 fee; 0.5 p.s.i.

C.	1,500 ft.; 0.75 p.s.i.

D.	2,000 ft.; 1 p.s.i.

3.	In most circumstances, the maximum lift of a fire pump is no more than:

A.	15 ft.     B.	20 ft.    C.	25 ft.    D.	30 ft.

4.	Every fire pump in good repair should have a dependable lift of at least:

A.	4.7 ft   B.	7.4 ft    C.	14.7 ft   D.	17.4 ft

5.	With a 15 ft. (4.5 m) lift, a pump is only able to deliver ___ percent of its capacity.

A.	40    B.   50   C.   60   D.   70

State the equation for determining the maximum lift that a pumper can achieve

List types of natural static water supply sources

1.

2.

3.

Answer questions about the accessibility of natural static water supply sources. Write the correct letters on the blanks.

1.	Which of the following is NOT a problem with reaching the water with a pumper?

A.	Extremely high banks

B.	Bridges that are too high above the water's surface

C.	Bridges that are not tall enough to support fire apparatus

D.	Terrain that will not allow the apparatus close enough to reach the water with intake hoses

2.	Frozen ground may be a dangerous place to park the apparatus because:

A.	the ice may cause the wheels to become frozen and unusable.

B.	the ice may later thaw and cause the apparatus to sink in place.

C.	the ice may thaw and refreeze, causing the apparatus to become stuck.

D.	the ice may hide holes or marshy land that will later become a problem for the apparatus.

3.	A depth of ___ ft. (meters) of water is suggested above and below a barrel-type strainer.

A.	1 ft.     B.	2 ft.     C.	3 ft.     D.	4 ft.

4.	Floating strainers allow safe drafting from water as shallow as ___ ft. (meters).

A.	1 ft.

B.	2 ft.

C.	3 ft.

D.	4 ft.

5.	In order to aid access to frozen ponds and lakes, barrels filled with ___ may be floated on the water's surface before the water freezes.

A.	oil

B.	sand

C.	water

D.	an antifreeze solution

Select facts about various man-made static water supply sources. Write the correct letters on the blanks.

1.	Which of the following are underground storage receptacles that are usually found in areas that are not serviced by a hydrant system?

A.	Cisterns

B.	Ground reservoirs

C.	Private water storage tanks

D.	Agricultural irrigation systems

2.	Which of the following are man-made impoundments that have the same characteristics as a pond or small lake?

A.	Cisterns

B.	Ground reservoirs

C.	Private water storage tanks

D.	Agricultural irrigation systems

3.	Which of the following are commonly found on large residential, industrial, and agricultural properties?

A.	Cisterns

B.	Ground reservoirs

C.	Private water storage tanks

D.	Agricultural irrigation systems

4.	Which of the following may be difficult to access due to security measures?

A.	Cisterns

B.	Swimming pools

C.	Private water storage tanks

D.	Agricultural irrigation systems

5.	Which of the following transport water through open canals or portable pipes?

A.	Cisterns

B.	Ground reservoirs

C.	Private water storage tanks

D.	Agricultural irrigation systems

6.	Which of the following typically contain many millions of gallons water?

A.	Cisterns                                  B.	Ground reservoirs

C.	Private water storage tanks    D.	Agricultural irrigation systems

7.	Which of the following typically receive their water from wells or rainwater runoff?

A.	Cisterns

B.	Swimming pools

C.	Private water storage tanks

D.	Agricultural irrigation systems

8.	Which of the following are accessed by a manhole-type cover or by a dry hydrant?

A.	Cisterns

B.	Ground reservoirs

C.	Private water storage tanks

D.	Agricultural irrigation systems

9.	Which of the following may not be reliable?

A.	Cisterns

B.	Ground reservoirs

C.	Private water storage tanks

D.	Agricultural irrigation systems

10.	Which of the following are typically more accessible than regular ponds or lakes?

A.	Cisterns

B.	Ground reservoirs

C.	Private water storage tanks

D.	Agricultural irrigation systems

# Text boxes

A.	Dependable lift

B.	Draft

C.	Lift

D.	Maximum lift

E.	Minimum lift

F.	Theoretical lift

G.	Vacuum