Pumping Apparatus Driver/Operator

Lesson 15 — Foam Equipment and Systems

Name 	 Date

Match to their definitions terms associated with the foam-making process. Write the correct letters on the blanks. (1 pt. each, 4/6)

1.	To mix with water

2.	To mix with air

3.	The raw foam liquid in its storage container before being combined with water and air

4.	The device that introduces foam concentrate into the water stream to make the foam solution

5.	The mixture of foam concentrate and water before the introduction of air

6.	The completed product after air is introduced into the foam solution

Select facts about the principles of foam. Write the correct letters on the blanks.

1.	Which of the following is NOT needed to produce quality fire fighting foam?

A.	Air

B.	Water

C.	Vacuum pumps

D.	Mechanical aeration

2.	Which of the following is a Class B hydrocarbon?

A.	Alcohol

B.	Acetone

C.	Crude oil

D.	Lacquer thinner

3.	Which of the following is a Class B polar solvent?

A.	Fuel oil

B.	Gasoline

C.	Benzene

D.	Ketones

4.	Class B foams designed solely for hydrocarbon fires will not extinguish polar solvent fires.

A.	True

B.	False

5.	Many foams intended for polar solvents may be used on hydrocarbon fires.

A.	True

B.	False

Explain how foam extinguishes and/or prevents fire.

1.	Separating

2.	Cooling

3.	Suppressing

Answer questions about foam proportioning. Write the correct letters on the blanks.

1.	Most fire fighting foam concentrates are intended to be mixed with:

A.	90 to 100 percent water.

B.	92 to 98 percent water.

C.	94 to 98.9 percent water.

D.	94 to 99.9 percent water.

2.	Which foams are not proportioned as other foams?

A.	Class A foams

B.	Class B foams

C.	Class D foams

D.	Class K foams

3.	Dry, thick foam suitable for exposure protection and fire breaks requires a:

A.	lower percentage of foam.

B.	lower percentage of air.

C.	higher percentage of foam.

D.	higher percentage of air.

4.	Wet (thin) foam that rapidly sinks into a fuel’s surface requires a:

A.	lower percentage of foam.

B.	lower percentage of air.

C.	higher percentage of foam.

D.	higher percentage of air.

5.	Using a foam proportioner that is not compatible with the delivery device can result in:

A.	dry, thick foam.

B.	wet, thin foam.

C.	high quality foam.

D.	unsatisfactory foam or no foam at all.

List the four basic methods by which foam may be proportioned.

1.

2.

3.

4.

Select facts about how foam is stored. Write the correct letters on the blanks.

1.	Which of the following storage methods are usually 5-gallon sized and made of plastic?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

2.	Which of the following storage methods are found on municipal and industrial pumpers, foam tenders, and ARFF apparatus?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

3.	Which of the following storage methods are usually 55-gallon sized and made of plastic?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

4.	Which of the following storage methods are found in 275-gallon sizes and are used for bulk storage of foam concentrate?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

5.	Which of the following storage methods eliminate the need to use separate pails or barrels?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

6.	Which of the following storage methods are perhaps the most common containers used by the municipal fire service?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

7.	Which of the following storage methods are most common in industrial applications?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

8.	Which of the following storage methods range from 20 to 200 gallons?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

9.	Which of the following storage methods are durable and not affected by the corrosive nature of foam concentrates?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

10.	Which of the following storage methods should be equipped with a pressure vacuum vent?

A.	Pails

B.	Totes

C.	Barrels

D.	Apparatus tanks

Answer questions about Class A foam. Write the correct letters on the blanks.

1.	Which of the following would NOT be a typical use for Class A foam?

A.	Structure fire                  B.	Coal mine fire

C.	Flammable liquid fire    D.	Tire storage fire

2.	Class A foams should be used on:

A.	Class A fuels only.   B.	Class B fuels only.

C.	both Class A and Class B fuels.   D.	Class A, Class B, and Class D fuels.

3.	Class A foam has a shelf life of as much as ___ years if properly stored.

A.	5   B.	10   C.	15   D.	20

4.	Class A foam is safe to be applied directly into bodies of water.

A.	True

B.	False

5.	Which of the following devices is NOT commonly used with Class A foams?

A.	Fog nozzles                    B.	Straight stream nozzles

C.	Aerating foam nozzles   D.	Compressed-air foam systems

Explain the common guidelines for performing various applications with Class A foams.

1.	Fire attack and overhaul with standard fog nozzles

2.	Exposure protection with standard fog nozzles

3.	Any application with air aspirating foam nozzles

4.	Any application with compressed air foam systems

List the type of Class A foam required for given situations.

1.	Areas requiring maximum penetration

2.	Vertical surfaces

3.	Areas requiring a balance of penetration and clinging ability

Select facts about Class B foam. Write the correct letters on the blanks.

1.	Which of the following would be a typical use for Class B foam?

A.	Structure fire

B.	Coal mine fire

C.	Wildland fire

D.	Combustible liquid fire

2.	Which of the following may be used to apply Class B foam?

A.	Fog nozzles

B.	Straight stream nozzles

C.	Aerating foam nozzles

D.	Compressed-air foam systems

3.	Which of the following are considered safer for the environment?

A.	All Class A foams

B.	All Class B foams

C.	Protein-based Class B foams

D.	Synthetic-based Class B foams

4.	Protein-based foams have a shelf life of about ___ years.

A.	5   B.	10   C.	15   D.	20

5.	Synthetic-based foams are made from:

A.	animal protein.           B.	fluorosurfactants.

C.	polymer surfactants.   D.	hydrocarbon surfactants.

List the application rates of Class B foam for common fire scenarios.

1.	Hydrocarbon fuel spills (nondiked) using portable extinguishing equipment

a. Protein and fluoroportein foams

b. AFFF and FFFP

2.	Polar solvent fuel spill fires (nondiked) using portable extinguishing equipment

3.	Hydrocarbon fuel fires in fixed roof storage tanks using portable extinguishing equipment

Select facts about specific foam concentrates. Write the correct letters on the blanks.

1.	Which of the following is the most commonly used foam today?

A.	Fluoroprotein foam

B.	Regular protein foam

C.	Aqueous film forming foam

D.	Film forming fluoroprotein foam

2.	Which of the following has a detergent base?

A.	Fluoroprotein foam       B.	Regular protein foam

C.	High expansion foam    D.	Aqueous film forming foam

3.	Which of the following is derived from naturally occurring sources of protein such as hoof, horn, or feather meal?

A.	Fluoroprotein foam                B.	Regular protein foam

C.	Aqueous film forming foam   D.	Film forming fluoroprotein foam

4.	Which of the following is based on fluoroprotein foam technology with AFFF capabilities?

A.	Fluoroprotein foam   B.	High expansion foam

C.	Aqueous film forming foam   D.	Film forming fluoroprotein foam

5.	Which of the following degrades faster in storage than synthetic foam?

A.	Fluoroprotein foam                 B.	Regular protein foam

C.	Aqueous film forming foam   D.	Film forming fluoroprotein foam

6.	Which of the following has a low water content, which minimizes water damage?

A.	Fluoroprotein foam          B.	High expansion foam

C.	Aqueous film forming foam    D.	Film forming fluoroprotein foam

7.	Which of the following is derived from protein foam concentrates to which fluorochemical surfactants are added?

A.	Fluoroprotein foam

B.	Regular protein foam

C.	High expansion foam

D.	Film forming fluoroprotein foam

8.	Which of the following is completely synthetic?

A.	Fluoroprotein foam

B.	Regular protein foam

C.	High expansion foam

D.	Aqueous film forming foam

9.	Which of the following is rarely used in the fire service today?

A.	Fluoroprotein foam

B.	Regular protein foam

C.	Aqueous film forming foam

D.	Film forming fluoroprotein foam

10.	Which of the following provides a strong “security blanket” for long-term vapor suppression?

A.	Fluoroprotein foam

B.	Regular protein foam

C.	Aqueous film forming foam

D.	Film forming fluoroprotein foam

List the three things that happen when Aqueous Film Forming Foam (AFFF) is applied to a hydrocarbon fire.

1.

2.

3.

Answer questions about portable foam proportioners. Write the correct letters on the blanks.

1.	Which of the following are the most basic type of foam proportioner?

A.	Jet ratio controllers

B.	In-line foam eductors

C.	Foam nozzle eductors

D.	Self-educting master stream foam nozzles

2.	Which of the following are used where flows in excess of 350 gpm (1 400 L/min) are required?

A.	Jet ratio controllers

B.	In-line foam eductors

C.	Foam nozzle eductors

D.	Self-educting master stream foam nozzles

3.	Which of the following operate on the same principle as the in-line eductor, but the eductor is built into the nozzle rather than into the hoseline?

A.	Jet ratio controllers

B.	In-line foam eductors

C.	Foam nozzle eductors

D.	Self-educting master stream foam nozzles

4.	Which of the following are a type of in-line eductor that allow the foam concentrate supply to be as far away as 3,000 feet (900 m) from the self-educting master stream foam nozzle?

A.	Jet ratio controllers

B.	In-line foam eductors

C.	Foam nozzle eductors

D.	Self-educting master stream foam nozzles

5.	Which of the following compromise firefighter safety?

A.	Jet ratio controllers

B.	In-line foam eductors

C.	Foam nozzle eductors

D.	Self-educting master stream foam nozzles

6.	Which of the following are designed to be either directly attached to the pump panel discharge or connected at some point in the hose lay?

A.	Jet ratio controllers

B.	In-line foam eductors

C.	Foam nozzle eductors

D.	Self-educting master stream foam nozzles

7.	Which of the following allow an elevation change of up to 50 feet (15 m)?

A.	Jet ratio controllers        B.	In-line foam eductors

C.	Foam nozzle eductors    D.	Self-educting master stream foam nozzles

8.	With in-line foam eductors, the nozzle and in-line eductor must have the same:

A.	size orifices.

B.	outlet diameter.

C.	rating in gpm (L/min).

D.	concentrate proportions.

Answer questions about apparatus-mounted foam proportioning systems. Write the correct letters on the blanks.

1.	Which of the following is the simplest means of proportioning foam?

A.	Batch mixing

B.	Around-the-pump proportioners

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

2.	Which of the following include a special version called a bypass proportioner that is used to reduce the friction loss across the eductor?

A.	Batch mixing

B.	Installed in-line eductor systems

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

3.	Which of the following can be done at any time, anywhere, and with any equipment?

A.	Batch mixing

B.	Installed in-line eductor systems

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

4.	Which of the following CANNOT be used with alcohol-resistant foam concentrates?

A.	Batch mixing

B.	Installed in-line eductor systems

C.	Variable-flow variable-rate direct injection systems

D.	Variable-flow demand-type balanced pressure proportioners

5.	Which of the following are controlled by monitoring the water flow and controlling the speed of a positive displacement foam concentrate pump?

A.	Batch mixing

B.	Installed in-line eductor systems

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

6.	Which of the following consist of a small return (bypass) water line connected from the discharge side of the pump back to the intake side of the pump?

A.	Batch mixing

B.	Around-the-pump proportioners

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

7.	Which of the following are one of the most accurate methods of foam proportioning?

A.	Batch mixing

B.	Around-the-pump proportioners

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

8.	Which of the following are most commonly used in large-scale mobile apparatus applications such as airport crash vehicles and refinery fire fighting apparatus?

A.	Around-the-pump proportioners

B.	Bypass-type balanced pressure proportioners

C.	Variable-flow variable-rate direct injection systems

D.	Variable-flow demand-type balanced pressure proportioners

9.	Which of the following have foam concentrate supplied from either pickup tubes inserted into 5 gallon (20 L) pails or from foam concentrate tanks installed on the apparatus?

A.	Installed in-line eductor systems

B.	Around-the-pump proportioners

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

10.	Which of the following use the same principles of operation as do portable in-line eductors, but are attached to the apparatus pumping system?

A.	Batch mixing

B.	Installed in-line eductor systems

C.	Variable-flow variable-rate direct injection systems

D.	Variable-flow demand-type balanced pressure proportioners

11.	Apparatus equipped with these proportioners have a foam concentrate line connected to each fire pump discharge outlet.

A.	Installed in-line eductor systems

B.	Around-the-pump proportioners

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

12.	Which of the following operate off power supplied form the apparatus electrical system?

A.	Installed in-line eductor systems

B.	Around-the-pump proportioners

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

13.	Which of the following are rated for a specific flow and should be used at this rate?

A.	Installed in-line eductor systems

B.	Around-the-pump proportioners

C.	Bypass-type balanced pressure proportioners

D.	Variable-flow variable-rate direct injection systems

14.	Which of the following have a variable-speed mechanism that drives a foam concentrate pump?

A.	Batch mixing

B.	Installed in-line eductor systems

C.	Variable-flow variable-rate direct injection systems

D.	Variable-flow demand-type balanced pressure proportioners

15.	Which of the following is only used with regular AFFF and Class A concentrates?

A.	Batch mixing

B.	Installed in-line eductor systems

C.	Variable-flow variable-rate direct injection systems

D.	Variable-flow demand-type balanced pressure proportioners

Distinguish between advantages and limitations of compressed-air foam systems (CAFS). Write an “A” on the blanks before advantages and an “L” on the blanks before limitations.

1.	The reach of the fire stream is considerably longer than streams from low-energy systems.

2.	A CAFS produces uniformly sized, small air bubbles that are very durable.

3.	A CAFS adds expense to a vehicle and adds to the maintenance that must be performed on the vehicle.

4.	Hose reaction can be erratic with a CAFS if foam solution is not supplied to the hoseline in sufficient quantities.

5.	CAFS-produced foam adheres to the fuel surface and resists heat longer than low-energy foam.

6.	The compressed air accentuates the hose reaction in the event the hose ruptures.

7.	Hoselines containing high-energy foam solution weigh less than hoselines containing low-energy foam solution or plain water.

8.	A CAFS provides a safer fire suppression action that allows effective attack on the fire from a greater distance.

9.	Additional training is required for personnel who are expected to make a fire attack using a CAFS or who will operate CAFS equipment.

Identify characteristics of various portable foam application devices. Write the correct letters on the blanks.

1.	Which of the following is “any nozzle that one to three firefighters can safely handle and that flows less than 350 gpm (1 400 L/min)”?

A.	Handline nozzle

B.	Smoothbore nozzle

C.	Master stream foam nozzle

D.	High-expansion foam generator

2.	Which portable foam application devices are limited to Class A, CAFS applications?

A.	Fog nozzles

B.	Smoothbore nozzles

C.	Air-aspirating foam nozzles

D.	Master stream foam nozzles

3.	Which portable foam application devices break the foam solution into tiny droplets and use the agitation of water droplets moving through air to achieve the foaming action?

A.	Fog nozzles

B.	Air-aspirating foam nozzles

C.	Master stream foam nozzles

D.	Medium- and high-expansion foam generating devices

4.	Which portable foam application devices CANNOT be used with protein and fluoroprotein foams?

A.	Fog nozzles

B.	Smoothbore nozzles

C.	Air-aspirating foam nozzles

D.	Master stream foam nozzles

5.	Which portable foam application devices induct air into the foam solution by a venturi action?

A.	Fog nozzles

B.	Handline nozzles

C.	Master stream foam nozzles

D.	Air-aspirating foam nozzles

6.	Which portable foam application devices are the only types of nozzles that can be used with protein and fluoroprotein concentrates?

A.	Fog nozzles

B.	Smoothbore nozzles

C.	Air-aspirating foam nozzles

D.	Master stream foam nozzles

7.	Which portable foam application devices are required to deliver adequate amounts of foam on large-scale flammable and combustible liquid fires?

A.	Fog nozzles

B.	Smoothbore nozzles

C.	Air-aspirating foam nozzles

D.	Master stream foam nozzles

8.	For high-expansion foam, the air content ranges from:

A.	10:1 to 100:1.

B.	20:1 to 200:1.

C.	20:1 to 1,000:1.

D.	100:1 to 1,000:1.

9.	The air-aspirating type of medium- and high-expansion foam generators are very similar to other foam-producing nozzles except that they are:

A.	much shorter.

B.	much smaller.

C.	much larger and longer.

D.	much smaller, but longer.

10.	A mechanical blower foam generator is limited to:

A.	Low-expansion foam

B.	Medium-expansion foam

C.	High-expansion foam

D.	Any of the above

Select from a list the reasons for failure to generate foam or for generating poor quality foam. Write an “X” on the blank before each correct reason.

1.	Completely opened nozzle

2.	Failure to match eductor and nozzle flow, resulting in no pickup of foam concentrate

3.	Air leaks at fittings that cause loss of suction

4.	Too little hose on the intake side of the eductor

5.	Nozzle too far below eductor

6.	Improper cleaning of proportioning equipment that results in clogged foam passages

7.	Failure to match hose and nozzle flow

8.	Partially closed nozzle that results in a higher nozzle pressure

9.	Too long a hose lay on the discharge side of the eductor

10.	Kinked hose

11.	Nozzle too far above eductor

12.	Mixing different types of foam concentrate in the same tank, which can result in a mixture too viscous to pass through the eductor

Match to their definitions various foam application techniques. Write the correct letters on the blanks.

1.	Finished Class A foam is applied directly onto the material that is burning

2.	Directs Class B foam stream on the ground near the front edge of a burning liquid pool or spill

3.	The Class B foam stream is directed onto a vertical surface, allowing the foam to run down onto and spread across the surface of the fuel

4.	Directs the stream of Class B foam into the air above the fire and allows the foam to gently rain down onto the surface of the fuel

Answer questions about the environmental impact of foam concentrates and solutions. Write the correct letters on the blanks.

1.	The primary concern to the environment of Class A and Class B foams is the impact of finished foam after it has been applied to a fire or spill.

A.	True

B.	False

2.	The biodegradability of these foams in either solution or concentrate is determined by the rate at which environmental bacteria dissolve or degrade the foam.

A.	True

B.	False

3.	The decomposition process of these foams results in the production of oxygen.

A.	True

B.	False

4.	It is appropriate for foam concentrates, solutions, or finished foam to be discharged into any body of water.

A.	True

B.	False

5.	Environmental issues for AFFF concentrate include chemicals such as glycol ethers.

A.	True

B.	False

Select facts about durable agents. Write the correct letters on the blanks.

1.	Durable agents retain their fire retarding properties:

A.	a shorter time than Class A foam.

B.	a longer time than Class A foam.

C.	a shorter time than Class D foam.

D.	a longer time than Class D foam.

2.	Which of the following is NOT another name for durable agents?

A.	Gelling agents

B.	Fire blocking gels

C.	Film forming gels

D.	Aqueous fire fighting gels

3.	Durable agents are used in the same way as ___, but are chemically and structurally quite different.

A.	Class A foams

B.	Class B foams

C.	both Class A and Class B foams

D.	Class K foams

4.	Durable agents are:

A.	air-aspirating polymers.

B.	water-absorbent polymers.

C.	polymer-based surfactants.

D.	hydrocarbon-based surfactants.

5.	Durable agents are considerably ___ than Class A foams.

A.	lighter   B.	heavier   C.	more expensive   D.	less expensive

6.	Durable agents are normally applied at a ratio of ___ for fire extinguishment.

A.	1%   B.	1½ to 2%   C.	2 or 3%   D.	5 to 7%

7.	Durable agents are normally applied at ___ for line construction.

A.	1%            B.	1½ to 2%   C.	2 or 3%     D.	5 to 7%

8.	Durable agents are normally applied at ___ for structure protection.

A.	1%   B.   1½ to 2%   C.   2 or 3%   D.   5 to 7%

# Text boxes

A.	Aerate

B.	Foam

C.	Foam concentrate

D.	Foam proportioner

E.	Foam solution

F.	Proportion

A.	Bank-down method

B.	Direct-application method

C.	Rain-down method

D.	Roll-on method