Pumping Apparatus Driver/Operator

Lesson 6 — What is Water and Where Does It Come From?

Name 	 Date

Select facts about the characteristics of water. Write the correct letters on the blanks.

1.	Water is a compound of hydrogen and oxygen formed when:

A.	one hydrogen atom combines with one oxygen atom.

B.	two hydrogen atoms combine with one oxygen atom.

C.	two oxygen atoms combine with one hydrogen atom.

D.	two hydrogen atoms combine with two oxygen atoms.

2.	Water exists in a liquid state between:

A.	0ºF and 100ºF (-17ºC and 38ºC)

B.	16ºF and 110ºF (-9ºC and 43ºC

C.	20ºF and 200ºF (-6ºC and 93ºC)

D.	32ºF and 212ºF (0ºC and 100ºC)

3.	Water converts to a solid state (ice) below:

A.	0ºF (-17ºC)

B.	16ºF (-9ºC)

C.	20ºF (-6ºC)

D.	32ºF (0ºC)

4.	Water converts to steam above:

A.	210ºF (98ºC)

B.	212ºF (100ºC)

C.	220ºF (104ºC)

D.	330ºF (165ºC)

5.	Water is lightest close to its boiling point – weighing approximately:

A.	50 lb/ft3 (0.8 kg/L).

B.	60 lb/ft3 (0.96 kg/L).

C.	75 lb/ft3 (1.2 kg/L).

D.	80 lb/ft3 (1.3 kg/L).

6.	For fire protection purposes, ordinary fresh water is generally considered to weigh:

A.	5.25 lb/gal (0.63 kg/L)

B.	7.26 lb/gal (0.87 kg/L)

C.	8.33 lb/gal (1kg/L)

D.	12.8 lb/gal (1.54 kg/L)

Answer questions about specific heat. Write the correct letters on the blanks.

1.	What is specific heat?

A.	A measure of the heat-absorbing capacity of a substance

B.	The heat required to raise the temperature of 1 pound of water 1ºF

C.	The specific point at which a substance absorbs enough heat to combust

D.	The quantity of heat absorbed by a substance when it changes from a liquid to a vapor

2.	What unit is used to measure amounts of heat transfer?

A.	Calorie

B.	Kilopascal (kPa)

C.	British thermal unit (Btu) or joule (J)

D.	Degrees Fahrenheit (F) or Celsius (C)

3.	What is a Btu?

A.	A measure of the heat-absorbing capacity of a substance

B.	The heat required to raise the temperature of 1 pound of water 1ºF

C.	The specific point at which a substance absorbs enough heat to combust

D.	The quantity of heat absorbed by a substance when it changes from a liquid to a vapor

4.	What unit of measurement has the joule taken the place of in the SI (International System of Units)?

A.	Calorie

B.	Kilowatt (kW)

C.	Kilopascal (kPa)

D.	British thermal unit (Btu)

Select facts about latent heat of vaporization. Write the correct letters on the blanks.

1.	The latent heat of vaporization is:

A.	A measure of the heat-absorbing capacity of a substance

B.	The heat required to raise the temperature of 1 pound of water 1ºF

C.	The specific point at which a substance absorbs enough heat to combust

D.	The quantity of heat absorbed by a substance when it changes from a liquid to a vapor

2.	What is the name for the temperature at which a liquid absorbs enough heat to change to a vapor?

A.	Boiling point

B.	Steam expansion ratio

C.	Calorie conversion index

D.	Evaporative conversion point

3.	Vaporization does not completely occur at boiling point. Each pound of water requires approximately ___ Btu (kJ) of additional heat to completely convert into steam.

A.	790 Btu (833 kJ)

B.	934 Btu (985 kJ)

C.	970 Btu (1 023 kJ)

D.	1,023 Btu (1 079 kJ)

Answer questions about the surface area of water. Write the correct letters on the blanks.

1.	Approximately how much does water expand beyond its original volume when converted to steam at 212ºF (100ºC)?

A.	1,070 times

B.	1,500 times

C.	1,700 times

D.	2,500 times

2.	The speed with which water absorbs heat increases in proportion to:

A.	the temperature of the water.

B.	the amount of steam expansion.

C.	the temperature of the fire area.

D.	the water surface exposed to the heat.

3.	Steam expansion is ___ inside a burning building.

A.	rapid

B.	gradual

C.	nonexistent

D.	unnecessary

Select facts about specific gravity. Write the correct letters on the blanks.

A.	Static pressure

B.	Atmospheric pressure

C.	The density of liquids in relation to water

D.	The viscosity of water in relation to solids

2.	What kinds of liquids are lighter than water and therefore float on water?

A.	Those with a specific gravity less than 1

B.	Those with a specific gravity greater than 1

C.	Those with a specific gravity less than 10

D.	Those with a specific gravity greater than 10

3.	What kinds of liquids are heavier than water and sink to the bottom?

A.	Those with a specific gravity less than 1

B.	Those with a specific gravity greater than 1

C.	Those with a specific gravity less than 10

D.	Those with a specific gravity greater than 10

4.	Most flammable liquids have a specific gravity of:

A.	less than 1

B.	equal to 1

C.	greater than 1

D.	absolute zero

Match to their definitions terms associated with pressure. Write the correct letters on the blanks. (1 pt. each, 17/20)

1.	Pressure exerted by the atmosphere at sea level (14.7 psi [101 kPa])

2.	Gauge reading

3.	The psi above a perfect vacuum, absolute zero

4.	Any pressure less than atmospheric pressure

5.	Absolute zero pressure

6.	Gauge readings of less than 0 psi or kPa

7.	The height of a water supply above the discharge orifice

8.	The result of dividing the number of feet that the water supply is above the discharge orifice by 2.304

9.	Stored potential energy available to force water through pipe, fittings, fire hose, and adapters

10.	At rest or without motion

11.	That pressure found in a water distribution system during normal consumption demands

12.	That part of the total available pressure not used to overcome friction loss or gravity while forcing water through pipe, fittings, fire hose, and adapters

13.	A remainder or that which is left

14.	That forward velocity pressure at a discharge opening while water is flowing

15.	The center line of the pump or the bottom of a static water supply source above or below ground level

16.	The position of an object above or below sea level

17.	What happens when a nozzle is above the pump

18.	What happens when a nozzle is below the pump

19.	Another term for both pressure loss and pressure gain

20.	That part of the total pressure lost while forcing water through pipe, fittings, fire hose, and adapters

Answer questions about other factors affecting friction loss. Write the correct letters on the blanks. (1 pt. each, 4/5)

1.	How much pressure is required to reduce the volume of water one percent?

A.	25,000 psi (175 000 kPa)

B.	30,000 psi (210 000 kPa)

C.	35,000 psi (245 000 kPa)

D.	40,000 psi (280 000 kPa)

2.	Friction loss in a system ___ as the length of hose or piping ___.

A.	increases/decreases

B.	increases/increases

C.	decreases/increases

D.	stays the same/increases

3.	Flow pressure will always be ___ near the supply source and ___ at the farthest point in the system.

A.	greatest/lowest

B.	lowest/greatest

C.	hardest/softest

D.	softest/hardest

4.	If an opening is made directly at the hydrant, as opposed to the nozzle, the flow will be much ___ at a ___ pressure.

A.	greater/higher

B.	lower/higher

C.	greater/lower

D.	lower/lower

5.	If velocity is increased beyond practical limits, the friction becomes so great that resistance agitates the entire stream, creating:

A.	critical velocity.

B.	terminal velocity.

C.	critical friction loss.

D.	terminal friction loss.

Select facts about water hammer. Write the correct letters on the blanks. (1 pt. each, 3/4)

1.	What is water hammer?

A.	The pressure found in a water distribution system during normal consumption demands

B.	The part of the total pressure lost when water is forced through pipe, fittings, fire hose, and adapters

C.	The decrease of the amount of water flowing through a hose, reducing the speed of the water and therefore causing less friction loss

D.	The sudden stopping of water moving through a hose or pipe resulting in an energy surge being transmitted in the opposite direction, often at many times the original pressure

2.	Close nozzles, hydrants, valves, and hose clamps ___ to prevent water hammer.

A.	quickly     B.	slowly

C.	carefully   D.	completely

3.	Equip apparatus inlets and remote outlets with ___ to prevent damage to equipment.

A.	couplings

B.	water valves

C.	check valves

D.	pressure relief devices

4.	High-volume systems should be protected with:

A.	couplings.

B.	water valves.

C.	dump valves.

D.	pressure relief valves.

Objective 24:

Answer questions about the primary components of a municipal water system. Write the correct letters on the blanks.

1.	Where can the primary water supply be obtained?

A.	Water processing facility

B.	Water treatment facility

C.	Water distribution system

D.	Surface water or groundwater

2.	Which of the following is NOT a means of moving water?

A.	Gravity system

B.	Treatment system

C.	Combination system

D.	Direct pumping system

3.	Which means of moving water uses one or more pumps that take water from the primary source and discharge it through the filtration and treatment processes?

A.	Gravity system

B.	Distribution system

C.	Combination system

D.	Direct pumping system

4.	Which means of moving water uses a primary water source located at a higher elevation than the distribution system?

A.	Gravity system

B.	Distribution system

C.	Combination system

D.	Direct pumping system

5.	What is the fire department's main concern regarding treatment facilities?

A.	That the process of treating water may lead to less available water volume and pressure.

B.	That treatment facilities may not supply enough water to adequately fight large-scale fires.

C.	That a maintenance error, natural disaster, loss of power supply, or fire could disable the pumping stations.

D.	That contaminations may not be completely removed, causing undue corrosion of hose and couplings.

6.	From where does the water supply distribution system receive water?

A.	From the pumping station

B.	From the water treatment facility

C.	From a network of distribution pipes

D.	From a ground or surface water source

7.	When water flows through pipes, its movement causes friction that results in a reduction of pressure. There is much less pressure loss in a water distribution system when fire hydrants are supplied:

A.	by a gravity system.

B.	from an uphill direction.

C.	from two or more directions.

D.	by a graduated piping system.

8.	A fire hydrant that receives water from only one direction is known as a:

A.	one-way heading.

B.	one-way hydrant.

C.	dead-head hydrant.

D.	dead-end hydrant.

9.	A fire hydrant that receives water from two or more directions is known as a:

A.	feed line.

B.	feeder line.

C.	looped line.

D.	recirculating line.

10.	A distribution system that provides circulating feed from several mains constitutes a:

A.	grid system.

B.	waffle pattern.

C.	gridiron system.

D.	crosshatch system.

11.	___ are large pipes (mains) with relatively widespread spacing, that convey large quantities of water to various points of the system for local distribution to the smaller mains.

A.	Distributors

B.	Contributors

C.	Primary feeders

D.	Secondary feeders

12.	___ make up a network of intermediate-sized pipes that reinforce the grid within the various loops of the primary feeder system and aid the concentration of the required fire flow at any point.

A.	Distributors

B.	Contributors

C.	Primary feeders

D.	Secondary feeders

13.	___ make up a grid arrangement of smaller mains serving individual fire hydrants and blocks of consumers.

A.	Distributors

B.	Contributors

C.	Primary feeders

D.	Secondary feeders

14.	To ensure sufficient water, two or more primary feeders should run from the source of supply to the ___ districts of the community by separate routes.

A.	industrial and business

B.	high-risk and industrial

C.	business and commercial

D.	residential and commercial

15.	In residential areas, the recommended size for fire hydrant supply mains is at least 6 inches (150 mm) in diameter.  These should be closely gridded by 8-inch (200 mm) cross-connecting mains at intervals of not more than:

A.	300 feet (90 m).

B.	400 feet (120 m).

C.	500 feet (150 m).

D.	600 feet (180 m).

16.	In the business and industrial districts, the minimum recommended size is a(n) ___ main with cross-connecting mains every 600 feet (180 m).

A.	4-inch (100 mm)

B.	6-inch (150 mm)

C.	8-inch (200 mm)

D.	10-inch (250 mm)

17.	___ mains may be used on principal streets and in long mains not cross-connected at frequent intervals.

A.	10-inch (250 mm)

B.	12-inch (300 mm)

C.	14-inch (350 mm)

D.	16-inch (400 mm)

18.	Water mains as large as ___ may be found in major cities.

A.	36 inches (1 m)

B.	48 inches (1.2 m)

C.	54 inches (1.35 m)

D.	60 inches (1.5 m)

Select facts about water main valves. Write the correct letters on the blanks.

1.	What is the function of a valve in a water distribution system?

A.	To provide a means for controlling the flow of water through the distribution piping

B.	To receive water from the pumping station and deliver it throughout the area served

C.	To take water from the primary source and discharge it through the filtration and treatment processes

D.	To convey large quantities of water to various points of the system for local distribution to the smaller mains

2.	Valves should be operated at least ___ to keep them in good condition.

A.	once a year

B.	twice a year

C.	once a month

D.	twice a month

3.	Valve spacing should be such that:

A.	there is at least 12 feet between valves.

B.	valves are located at infrequent intervals.

C.	large amounts of pipe are connected by one valve.

D.	only a minimum length of pipe is out of service at one time.

4.	Which type of valve shows whether the gate or valve seat is open, closed, or partially closed?

A.	Control valve

B.	Indicating valve

C.	Check valve

D.	Nonindicating valve

5.	Which type of valve is a hollow metal post that is attached to the valve housing?

A.	Control valve

B.	Butterfly valve

C.	Post indicator valve

D.	Nonindicating valve

6.	Which type of valve has a yoke on the outside with a threaded stem that controls the gate's opening or closing?

A.	Control valve

B.	Butterfly valve

C.	Post indicator valve

D.	Outside screw and yoke

7.	Which types of valves are the most common types of valves used on most public water distribution systems?

A.	Control valves

B.	Butterfly valves

C.	Post indicator valves

D.	Nonindicating valves

8.	Valves that are only partially open cause:

A.	water hammer.

B.	high friction loss.

C.	corrosion of pipes.

D.	the necessity of two hydrants being closed off at one time.

Answer questions about water pipes. Write the correct letters on the blanks.

1.	Which of the following is NOT a material commonly used to make water pipes?

A.	Steel

B.	Plastic

C.	Concrete

D.	Cast iron

2.	Friction loss of pipes is most frequently increased by:

A.	improper valve size.

B.	sharp bends in the pipes.

C.	the number of hydrants open at any one time.

D.	encrustation of minerals on the interior surfaces of the pipe.

3.	Friction loss can be reduced by:

A.	using only steel pipes.

B.	operating valves periodically.

C.	flushing hydrants periodically.

D.	keeping valves partially open during use.

Match to their definitions water system consumption rates. Write the correct letters on the blanks.

1.	The average of the total amount of water used in a water distribution system over the period of one year

2.	The maximum total amount of water that was used during any 24-hour interval within a 3-year period

3.	The maximum amount of water used in any 1-hour interval over the course of a day

Select facts about private water supply systems. Write the correct letters on the blanks.

1.	Private water supply systems are NOT normally found on:

A.	industrial properties.

B.	institutional properties.

C.	commercial properties.

D.	fire protection properties.

2.	Which of the following statements about private water supply systems is FALSE?

A.	Private water supply systems are most often found in residential developments.

B.	The design of private water supply systems is typically similar to that of municipal systems.

C.	Private water supply systems may service one large building or a series of buildings on the complex.

D.	Most private water supply systems separate piping for fire protection and domestic/industrial services.

# Text boxes

A.	Altitude

B.	Atmospheric pressure

C.	Elevation

D.	Elevation pressure

E.	Friction loss

F.	Flow pressure

G.	Head

H.	Head pressure

I.	Negative pressure

J.	Normal operating pressure

K.	Perfect vacuum

L.	Pressure gain

M.	Pressure loss

N.	Psia

O.	Psig

P.	Residual

Q.	Residual pressure

R.	Static

S.	Static pressure

T.	Vacuum

A.	Average daily consumption

B.	Maximum daily consumption

C.	Peak hourly consumption