Pumping Apparatus Driver/Operator

Lesson 9 — Fireground Hydraulic Calculations

Name 	 Date

Select facts about flowmeters. Write the correct letters on the blanks.

1.	Flowmeters provide:

A.	elevation differential.

B.	water flow in gpm (L/min).

C.	pump discharge pressures.

D.	total friction loss in the system.

2.	Flowmeters are particularly advantageous in:

A.	supplying pumpers in remote settings.

B.	supplying multiple hoselines or master streams.

C.	supplying hoselines or master stream devices equipped with fog nozzles.

D.	supplying hoselines or master stream devices equipped with automatic nozzles.

3.	Flowmeters are allowed to be used instead of pressure gauges on all discharges:

A.	1 to 2½ inches (25 mm to 65 mm) in diameter.

B.	1½ to 3 inches (38 mm to 77 mm) in diameter.

C.	3, 4, and 5 inches (77 mm, 100 mm, and 125 mm) in diameter.

D.	2½ to 5 inches (65 mm to 125 mm) in diameter.

4.	What size discharges may be equipped with a flowmeter but must also have a pressure gauge?

A.	1½ inches and under

B.	2½ inches and under

C.	1½ inches and 2 ½ inches

D.	3½ inches or larger

5.	Flowmeters must provide a readout in increments no larger than:

A.	10 gpm (38 L/min).

B.	20 gpm (76 L/min).

C.	30 gpm (114 L/min).

D.	40 gpm (151 L/min).

6.	Which of the following are basic types of flowmeters?

A.	Gated and ball joint

B.	Venturi and flow index

C.	Penetrating and hydraulic

D.	Paddlewheel and spring probe

7.	Which of the following statements about spring probe flowmeters is TRUE?

A.	It is located at the top of the pipe so that sediment does not deposit on it.

B.	Its placement reduces the problems of impeded flow and damage by debris.

C.	It is relatively maintenance free because its spring probe has only one moving part.

D.	It may be used instead of pressure gauges on all discharges regardless of diameter.

8.	How accurate should flowmeters be when properly calibrated and in good working condition?

A.	+/- 1 percent

B.	+/- 3 percent

C.	+/- 5 percent

D.	+/- 7 percent

9.	Flowmeters have a discharge readout display mounted within ___ of the valve control for each discharge equipped.

A.	3 inches (75 mm)

B.	6 inches (150 mm)

C.	10 inches (255 mm)

D.	12 inches (305 mm)

10.	A central flowmeter device provides the driver/operator with all of the following EXCEPT:

A.	the amount of foam being flowed.

B.	the required pump discharge pressure needed.

C.	the flow through any particular discharge at that time.

D.	the total amount of water being flowed through the pump at that time.

Answer questions about flowmeter applications. Write the correct letters on the blanks.

1.	Which of the following is NOT a flowmeter application?

A.	Relay pumping

B.	Standpipe operations

C.	Pump discharge pressures

D.	Diagnosing waterflow problems

2.	If water volume at the nozzle suddenly diminishes, but there is no reduction in the flowmeter reading, what is the most likely assumption?

A.	The hose has burst.

B.	The hoseline kinked.

C.	The hose coupling is leaking.

D.	The midline valve is partially closed.

3.	Use of a flowmeter during relay pumping makes it possible to feed a supply line without having to know the:

A.	length of hoseline.

B.	amount of friction loss.

C.	whether the nozzles are above or below the pump.

D.	number of gallons flowing from the pumper receiving the water.

4.	When using a flowmeter for relay pumping, as the engine speed increases:

A.	the discharge and gpm (L/min) reading increase.

B.	the discharge and gpm (L/min) reading decrease.

C.	the discharge decreases and the gpm (L/min) reading increases.

D.	the discharge increases and the gpm (L/min) reading decreases.

5.	When using a flowmeter for relay pumping, do not allow the incoming pressure to drop too much below:

A.	20 psi

B.	30 psi

C.	40 psi

D.	50 psi

Select facts about hydraulic calculators. Write the correct letters on the blanks.

1.	Manual or mechanical hydraulic calculators operate by moving a slide or dial in which the ___ are indicated.

A.	Water flow

B.	Size of hose

C.	Length of the hose lay

D.	All of the above

2.	Electronic hydraulic calculators allow the driver/operator to input all of the following EXCEPT:

A.	water flow.

B.	size of hose.

C.	length of hose lay.

D.	pump discharge pressure.

3.	Which of the following statements about hydraulic calculators is TRUE?

A.	They are particularly advantageous when supplying hoselines or master stream devices equipped with automatic nozzles.

B.	They make it possible for driver/operators to pump the correct volume of water to nozzles without having to know the length of hoseline.

C.	They make it possible to feed a supply line without having to know the number of gallons (liters) flowing from the pumper receiving the water.

D.	They enable the driver/operator to determine the pump discharge pressure required to supply a hose layout without having to perform tedious mental hydraulic calculations.

Answer questions about pump charts. Write the correct letters on the blanks.

1.	Which of the following is NOT a column on a pump chart?

A.	NP column

B.	FL column

C.	Nozzle column

D.	GPM (L/min) column

2.	What is the first step in developing a pump chart?

A.	Calculating required pump discharge pressures

B.	Providing established departmental residual pressures

C.	Determining number of feet (meters) of hose used by the department

D.	Identifying all nozzles, devices, and hose layouts used by the department

3.	When calculating the required pump discharge pressures for each of the listed layouts, be certain to include friction loss in master stream appliances flowing in excess of:

A.	50 gpm (200 L/min).

B.	150 gpm (600 L/min).

C.	250 gpm (1 000 L/min).

D.	350 gpm (1 400 L/min).

4.	When calculating the required pump discharge pressures for each of the listed layouts, round pump discharge pressure to the nearest:

A.	5 psi (35 kPa).

B.	10 psi (70 kPa).

C.	whole number.

D.	decimal point.

Select facts about the hand method. Write the correct letters on the blanks.

1.	What is the hand method used to estimate?

A.	Friction loss

B.	Pump pressure

C.	Water flow rate

D.	Discharge volume

2.	To what size hoselines may the hand method be applied?

A.	1¾- and 2½-inch

B.	1½- and 2½-inch

C.	1¾- and 3-inch

D.	3-, 4-, and 5-inch

3.	The hand method starts with:

A.	the thumb of the left hand.   B.   the thumb of the right hand.

C.	the index finger of the left hand.   D.	the index finger of the right hand.

4.	When applied to 2½-inch hose, each finger is numbered at the base in terms of:

A.	liters per minute.

B.	gallons per minute.

C.	hundreds of liters per minute.

D.	hundreds of gallons per minute.

5.	In order for the hand method to be applied to 1¾-inch hose, calculate the friction loss in 100 feet of 1¾-inch hose by going to the finger that corresponds to the flow you are using and multiplying the number at the tip of the finger by:

A.	two.

B.	four.

C.	the number at the base of the same finger.

D.	the number at the base of the finger to the right.

State the equations for determining friction loss using the  "Q" formula.

1.	3-inch hose:

2.	4-inch hose:

3.	5-inch hose:

Select facts about the GPM flowing method. Write the correct letters on the blanks.

1.	What is the GPM flowing method used to estimate?

A.	Friction loss

B.	Pump pressure

C.	Water flow rate

D.	Discharge volume

2.	What does the driver/operator need to know in order to use the GPM flowing method?

A.	Water flow in gpm

B.	Type of nozzle

C.	Total pressure loss in psi

D.	Discharge pressure in psi

3.	When using the GPM flowing method for 2½-inch hose, subtract ___ from the first two numbers of the gpm flow.

A.	5

B.	10

C.	15

D.	20

4.	When using the GPM flowing method for 1½-inch hose, multiply the flow times ___, then subtract ___ from the first two numbers of the gpm flow.

A.	2; 5

B.	4; 10

C.	6; 15

D.	8; 20

.